MERIDIAN INDUSTRIAL SUPPLY CO.

4410 Commerce Park Drive, Toledo, OH 43615  |  (419) 555-0142

Quotation  MIS-23-0194

Date: July 27, 2023

Client: Apex Fabrication LLC

Line 1:  Pressure Transmitter 0-300PSI

Part #: SEN-9902

Industrial pressure transmitter with 0-300 PSI gauge range and 4-20 mA output. 316L stainless wetted parts with 1/4" NPT process connection. Accuracy of 0.25% full scale, CE and UL rated. Operating temperature -40 to 105 C.

Qty.: 3   Price/Unit: USD 258.16

Line 2:  2" Stainless Ball Valve

Part #: VLV-2043

Full-port two-piece ball valve in 316 stainless steel with PTFE seats. Rated to 1000 PSI WOG and suitable for steam service up to 150 PSI. Locking lever handle included as standard.

Qty.: 6   Price/Unit: USD 200.93

This quotation is subject to our standard terms and conditions.